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               SAFETY DATA SHEET

 1. SUBSTANCE AND SOURCE IDENTIFICATION
Product Identifier
  SRM Number:   3130a
  SRM Name:     Lutetium (Lu) Standard Solution
    Other Means of Identification: Not applicable.
Recommended Use of This Material and Restrictions of Use
    This Standard Reference Material (SRM) is intended for use as a primary calibration standard for the quantitative
    determination of lutetium. A unit of SRM 3130a consists of five 10 mL sealed borosilicate glass ampoules of an
     acidified aqueous solution prepared gravimetrically from high-purity lutetium oxide to contain a known mass
     fraction of lutetium. The solution contains nitric acid at a concentration (molarity) of approximately 1.6 mol/L.
Company Information
     National Institute of Standards and Technology
     Standard Reference Materials Program
     100 Bureau Drive, Stop 2300
      Gaithersburg, Maryland 20899-2300

     Telephone: 301-975-2200                         Emergency Telephone ChemTrec:
    FAX: 301-948-3730                                  1-800-424-9300   (North America)
     E-mail: SRMMSDS@nist.gov                       +1-703-527-3887    (International)
     Website: http://www.nist.gov/srm
 2. HAZARDS IDENTIFICATION
Classification
    Physical Hazard:    Not classified.
    Health Hazard:      Skin Corrosion/Irritation            Category 1B
                          Serious Eye Damage/Eye Irritation   Category 1
    Label Elements
   Symbol





    Signal Word
   DANGER
   Hazard Statement(s)
   H314               Causes severe skin burns and eye damage.
    Precautionary Statement(s)
    P260            Do not breathe fumes, mists, vapors, or spray.
    P264             Wash hands thoroughly after handling.
   P280              Wear protective gloves, protective clothing, and eye protection.
   P301+P330+P331      If swallowed: Rinse mouth. Do NOT induce vomiting.
   P303+P361+P353      If on skin (or hair): Remove immediately all contaminated clothing.  Rinse skin with
                           water.
   P304+P340              If inhaled: Remove person to fresh air and keep comfortable for breathing.
   P305+P351+P338      If in eyes: Rinse cautiously with water for several minutes. Remove contact lenses, if
                           present and easy to do. Continue rinsing.
   P310                Immediately call a doctor.
   P363             Wash contaminated clothing before reuse.
   P405                  Store locked up.
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    P501                Dispose of contents and container according to local regulations.
   Hazards Not Otherwise Classified: Not applicable.
    Ingredients(s) with Unknown Acute Toxicity: Not applicable.
 3. COMPOSITION AND INFORMATION ON HAZARDOUS INGREDIENTS
Substance: Lutetium in nitric acid solution
Other Designations:
    Nitric acid (aqua fortis; hydrogen nitrate; azotic acid; engraver’s acid)
   Lutetium nitrate [lutetium trinitrate; nitric acid, lutetium (3+) salt (3:1)]

NOTE:  Lutetium in nitric acid solution forms a solvated lutetium nitrate salt.  The health and physical hazard
information provided in this SDS are for nitric acid and lutetium nitrate, a rare earth salt. No physical or chemical
data are listed for this solution. The actual effects of the solution may differ from the individual components.
Components are listed in compliance with OSHA’s 29 CFR 1910.1200; for the actual values see the NIST Certificate
of Analysis.
  Hazardous Component(s)       CAS Number     EC Number     Nominal Mass Concentration
                                                (EINECS)               (%)
  Nitric acid                           7697-37-2         231-714-2                 10
  Lutetium nitrate                      10099-67-9         233-241-7                      2.1

  Non-Hazardous Component(s)
  Water                               7732-18-5         231-791-2               >87

 4. FIRST AID MEASURES
Description of First Aid Measures:
    Inhalation:  If adverse effects occur, remove to uncontaminated area. If not breathing, give artificial respiration
    or oxygen by qualified personnel. Seek immediate medical attention.
    Skin Contact: Wash skin with soap and water for at least 15 minutes while removing contaminated clothing and
    shoes. Get immediate medical attention. Thoroughly clean and dry contaminated clothing before reuse. Destroy
    contaminated shoes.
   Eye Contact: Immediately flush eyes, including under the eyelids with copious amounts of water for at least
    15 minutes. Seek immediate medical attention.
    Ingestion: Contact a poison control center immediately for instructions. Do not induce vomiting. Give water to
     rinse out mouth. Never give liquids to a person with reduced awareness or becoming unconscious.  If vomiting
    occurs, keep head lower than hips to prevent aspiration.  If not breathing, give artificial respiration by qualified
    personnel. Seek immediate medical attention.
Most Important Symptoms/Effects, Acute and Delayed: Acid burns to skin, eyes, and lungs.
Indication of any immediate medical attention and special treatment needed, if necessary:  If any of the above
symptoms are present, seek immediate medical attention.
 5. FIRE FIGHTING MEASURES
Fire and Explosion Hazards:  Negligible fire hazard.  See Section 9, “Physical and Chemical Properties” for
flammability properties.
Extinguishing Media:
     Suitable: Use extinguishing media appropriate to the surrounding fire.
    Unsuitable: None listed.
Specific Hazards Arising from the Chemical: Miscellaneous decomposition products.

Special Protective Equipment and Precautions for Fire-Fighters: Avoid inhalation of material or combustion
byproducts. Wear full protective clothing and NIOSH approved self-contained breathing apparatus (SCBA).
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NFPA Ratings (0 = Minimal; 1 = Slight; 2 = Moderate; 3 = Serious; 4 = Severe)
    Health = 3            Fire = 0          Reactivity = 0
 6. ACCIDENTAL RELEASE MEASURES
Personal Precautions, Protective Equipment and Emergency Procedures:  Immediately contact emergency
personnel. Keep unnecessary personnel away. Use suitable protective equipment; see Section 8, “Exposure Controls
and Personal Protection”.
Methods and Materials for Containment and Clean up: Do not touch spilled material. Notify safety personnel
of spills. Absorb with sand or other non-combustible material. Collect spilled material in appropriate container for
disposal. Isolate hazard area and deny entry.
 7. HANDLING AND STORAGE
Safe Handling Precautions: See Section 8, “Exposure Controls and Personal Protection”. Handle glass ampoules
with care.
Storage:   Store and handle in accordance with  all current regulations and standards.  Keep separated from
incompatible substances (see Section 10, “Stability and Reactivity”).
 8. EXPOSURE CONTROLS AND PERSONAL PROTECTION

                                       Exposure Limits
  Component(s)     OSHA (PEL)         ACGIH (TLV)            NIOSH (REL)
                                                                       5 mg/m3 (2 ppm) TWA                     5 mg/m3 (2 ppm)         5 mg/m3 (2 ppm) TWA   Nitric acid                                                            10 mg/m3 (4 ppm) STEL                TWA            10 mg/m3 (4 ppm) STEL                                                                      65 mg/m3 (25 ppm) IDLH

  Lutetium nitrate                      No occupational limits established.

Engineering Controls:  Provide local exhaust or process enclosure ventilation system. Ensure compliance with
applicable exposure limits.
Personal Protection: In accordance with OSHA 29 CFR 1910.132, subpart I, wear appropriate Personal Protective
Equipment (PPE) to minimize exposure to this material.
    Respiratory Protection:    If workplace conditions warrant a respirator, a respiratory protection program that
    meets OSHA 29CFR 1910.134 must be followed. Refer to NIOSH 42 CFR 84 for applicable certified respirators.
    Eye/Face Protection: Wear splash resistant safety goggles with a face shield. An eyewash station should be
     readily available near areas of use.
    Skin and Body Protection: Personal protective equipment for the body should be selected based on the task
    being performed and the risks involved and should be approved by a specialist before handling this product.
    Chemical-resistant gloves should be worn at all times when handling chemicals.
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 9. PHYSICAL AND CHEMICAL PROPERTIES
NOTE: The physical and chemical data provided are for the pure components.
 Descriptive Properties                   Nitric acid              Lutetium nitrate
                                    (10 % of this SRM)            (2.1 % of this SRM)

     Appearance (physical             colorless to yellow           not available
      state, color, etc.)                   liquid
     Molecular Formula          HNO3                    Lu(NO3)3
    Molar Mass (g/mol)             63.01                      360.98
    Odor                                  irritating odor               not available
    Odor threshold (mg/m3)          not available                 not available
    pH                          1 (1 M)                     not available
     Evaporation rate                not available                 not applicable
     Melting point/freezing         –42 ºC (–43 ºF)              not available
     point
     Relative Density as specific      1.5027 at 25 ºC              not available
      gravity (water = 1)
    Vapor Pressure (mmHg)         47.9 at 20 ºC                not available
    Vapor Density (air = 1)          3.2                          not available
      Viscosity                         not available                 not available
      Solubility(ies)                    miscible with water          miscible in water
                                   and ether
      Partition coefficient              not available                 not available
     (n-octanol/water)
 Thermal Stability Properties
     Autoignition Temperature       not applicable               not available
    Thermal Decomposition         not applicable               not available
      Initial boiling point and        83 ºC (181 ºF)               not available
      boiling range
     Explosive Limits, LEL           not applicable               not available
     (Volume %)
     Explosive Limits, UEL           not applicable               not available
     (Volume %)
     Flash Point                      not applicable               not available
     Flammability (solid, gas)         not applicable               not available

 10. STABILITY AND REACTIVITY
Reactivity: Stable at normal temperatures and pressure.
      Stability:   X    Stable                Unstable
Possible Hazardous Reactions: None listed.
Conditions to Avoid: Contact with combustible or incompatible materials.
Incompatible Materials:  Acids, combustible materials, halo carbons, amines, bases, oxidizing materials, metals,
halogens, metal salts, metal oxides, reducing agents, peroxides, metal carbide, cyanides.
Fire/Explosion Information: See Section 5, “Fire Fighting Measures”.
Hazardous Decomposition:   Thermal decomposition  will produce oxides of  nitrogen,  lutetium, and  other
miscellaneous decomposition products.
Hazardous Polymerization:          Will Occur    X    Will Not Occur
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 11. TOXICOLOGICAL INFORMATION

Route of Exposure:    X    Inhalation     X    Skin        X    Ingestion
Symptoms Related to the Physical, Chemical and Toxicological Characteristics: Acid burns to skin, eyes, and
lungs.
Potential Health Effects (Acute, Chronic and Delayed):
    Inhalation: Inhalation of acid fumes can damage the mucous membranes and upper respiratory tract. Short term
    exposure may cause irritation and inflammation of the upper respiratory tract, coughing, choking, sore throat,
    shortness of breath, headache, dizziness, and nausea. Long term exposure to acid fumes may cause damage to
     teeth, bronchial irritation, chronic cough, bronchial pneumonia, and gastrointestinal disturbances.
    Skin Contact:  Nitric acid can cause severe skin burns. Severity of the damage depends on the concentration
    and duration of exposure. Effects of acid burns may be delayed.
   Eye Contact:  Nitric acid can cause severe eye irritation, corneal burns, permanent eye damage, or blindness.
    Severity of the damage depends on the concentration and duration of exposure.
    Ingestion:  If ingested, nitric acid can cause severe burns and damage to the gastrointestinal tract.
Numerical Measures of Toxicity
    Acute Toxicity: Not classified.
         Nitric acid: Rat, Inhalation LC50: 130 mg/m3 (4 h)
        Lutetium nitrate: No data available.
    Skin Corrosion/Irritation: This SRM contains >1 % of nitric acid and it is classified as Category 1B.
    Serious Eye Damage/Eye Irritation: This SRM contains >1 % nitric acid and it is classified as Category 1.
    Respiratory Sensitization: No data available.
    Skin Sensitization: No data available.
   Germ Cell Mutagenicity: No data available.
    Carcinogenicity: Not classified.
        Listed as a Carcinogen/Potential Carcinogen           Yes       X   No
         Nitric acid and lutetium nitrate are not listed by NTP, IARC or OSHA as carcinogens/potential carcinogens.
    Reproductive Toxicity: Not classified.
         Nitric acid: Rat, Oral TDLo: 21 150 mg/kg (pregnant 1 d to 21 d)
                     Rat, Oral TDLo: 2345 mg/kg (pregnant 18 d)
    Specific Target Organ Toxicity, Single Exposure: No data available.
    Specific Target Organ Toxicity, Repeated Exposure: No data available.
    Aspiration Hazard: No data available.
 12. ECOLOGICAL INFORMATION
Ecotoxicity Data
    Nitric acid: Fish, hooknose or pogge (Agonus cataphractus) LC50: 100 mg/L to 330 mg/L (48 h)
   Lutetium nitrate: No data available.
Persistence and Degradability: No data available.
Bioaccumulative Potential: No data available.
Mobility in Soil: No data available.
Other Adverse effects: No data available.
 13. DISPOSAL CONSIDERATIONS
Waste Disposal: Dispose of waste in accordance with all applicable federal, state, and local regulations. Subject to
disposal regulations: U.S. EPA 40 CFR 262, Hazardous Waste Numbers: nitric acid (D001, D002).
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 14. TRANSPORTATION INFORMATION
U.S. DOT and IATA: UN1760, Corrosive liquid, n.o.s. (contains nitric acid), Hazard Class 8, Packing Group II,
Excepted Qty: E2.
 15. REGULATORY INFORMATION
U.S. Regulations:
  CERCLA Sections 102a/103 (40 CFR 302.4):  Nitric acid, 1000 lbs. (454 kg) final RQ
  SARA Title III Section 302 (40 CFR 355.30):  Nitric acid, 1000 lbs. (454 kg) TPQ
  SARA Title III Section 304 (40 CFR 355.40):  Nitric acid, 1000 lbs. (454 kg) EPCRA RQ
  SARA Title III Section 313 (40 CFR 372.65):  1 % de minimis concentration for nitric acid.
  OSHA Process Safety (29 CFR 1910.119):     Regulated for nitric acid at higher concentrations
                                         500 lbs. TQ (≥94.5 % by weight).
  SARA Title III Sections 311/312 Hazardous Categories (40 CFR 370.21):
     ACUTE HEALTH:       Yes
      CHRONIC HEALTH:    No
       FIRE:               No
      REACTIVE:           No
      PRESSURE:           No
State Regulations: Not listed under California Proposition 65.
U.S. TSCA Inventory: Nitric acid and lutetium nitrate are listed.
TSCA 12(b), Export Notification: Not listed.
Canadian Regulations: WHMIS Information is not provided for this material.
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 16. OTHER INFORMATION
Issue Date: 28 January 2015
Sources:   ChemAdvisor, Inc., SDS Nitric Acid, 15 December 2014.
           ChemAdvisor, Inc., SDS Lutetium Nitrate Hexahydrate, 15 December 2014.
         CDC; NIOSH; NIOSH Pocket Guide to Chemical Hazards; Department of Health and Human
             Services (DHHS), Centers for Disease Control and Prevention (CDC), National Institute for Safety and
             Health; Nitric Acid, 18 November 2010; available at http://www.cdc.gov/niosh/npg/npgd0447.html
             (accessed Jan 2015).
           Hazardous Substances Data Bank (HSDB), National Library of Medicine's TOXNET system, Nitric
            Acid CAS No. 7697-37-2; available at http://toxnet.nlm.nih.gov (accessed Jan 2015).
           ChemIDplus  Advanced,  National  Library  of  Medicine's TOXNET  system,  Lutetium  Nitrate
         CAS No. 10099-67-9; available at http://chem.sis.nlm.nih.gov/chemidplus/ (accessed Jan 2015).





Key of Acronyms:
 ACGIH       American Conference of Governmental Industrial    NRC          Nuclear Regulatory Commission
                 Hygienists
 ALI          Annual Limit on Intake                     NTP           National Toxicology Program
 CAS         Chemical Abstracts Service                OSHA         Occupational Safety and Health Administration
 CERCLA     Comprehensive Environmental Response,         PEL           Permissible Exposure Limit
               Compensation, and Liability Act
 CFR         Code of Federal Regulations                RCRA        Resource Conservation and Recovery Act
 DOT         Department of Transportation                REL         Recommended Exposure Limit
 EC50          Effective Concentration, 50 %             RM           Reference Material
 EINECS      European Inventory of Existing Commercial      RQ            Reportable Quantity
               Chemical Substances
 EPCRA      Emergency Planning and Community Right-to-Know  RTECS        Registry of Toxic Effects of Chemical Substances
               Act
 IARC          International Agency for Research on Cancer      SARA        Superfund Amendments and Reauthorization Act
 IATA          International Air Transportation Agency         SCBA         Self-Contained Breathing Apparatus
 IDLH         Immediately Dangerous to Life and Health       SRM          Standard Reference Material
 LC50          Lethal Concentration, 50 %                   STEL          Short Term Exposure Limit
 LD50          Lethal Dose, 50 %                        STOT          Specific Target Organ Toxicity
 LEL         Lower Explosive Limit                    TLm          Threshold Limit, median
 MSDS         Material Safety Data Sheet                  TLV          Threshold Limit Value
 NFPA         National Fire Protection Association            TPQ          Threshold Planning Quantity
 NIOSH        National Institute for Occupational Safety and Health  TSCA         Toxic Substances Control Act
 NIST          National Institute of Standards and Technology    TWA        Time Weighted Average
  n.o.s.         Not Otherwise Specified                   UEL         Upper Explosive Limit
                                           WHMIS      Workplace Hazardous Materials Information System





Disclaimer:  Physical and chemical data contained in  this SDS are provided only for use in assessing the
hazardous nature of the material. The SDS was prepared carefully, using current references; however, NIST does not
certify the data in the SDS.  The certified values for this material are given in the NIST Certificate of Analysis.
Users of this SRM should ensure that the SDS in their possession is current. This can be accomplished by contacting
the SRM Program: telephone (301) 975-2200; fax (301) 948-3730; e-mail srmmsds@nist.gov; or via the Internet at
http://www.nist.gov/srm.
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